## Site - Inventory
SITE - INVENTORY
Item | EUL | Age | RUL | Condition (G, F, P) | Action | Quantity | Unit | Unit Cost | Total Cost | Comments
Service Walks
Hard Surface | 50 | 21 | 29 | F |  | 1608.5 | SF | 10.44 | 16792.74 | concrete 4" broom finish, incl. base aggregates
Wood/Plastic decking - replace | [6 empty] | SF | 28 | 0 | Decking material only, incl. demo and disposal. Existing substructure and frame to remain
Wood ramp and railing - replace | 30 | 21 | 9 | P | Replace Now | 12 | LF | 525 | 6300 | 2x railing (timber), and assume 7' width of ramp
Metal railing in lieu of timber - replace | [6 empty] | LF | 190 | 0 | incl. removal and disposal of existing railing
Parking Lots
Hard Surface | 50 | 21 | 29 | F |  | 0 | SF | 4.8 | 0 | Asphalt, incl. base aggregates
Hard Surface (sealing) | 5 | 10 | -5 | P | Reseal | 43575 | SF | 1.85 | 80613.75 | Fog Coat at discretionary timing
Restripe - stall | 5 | 10 | -5 | P | Restripe | 63 | EA | 55 | 3465
Steps/Ramps
Hard Surface | 50 | 21 | 29 | F |  |  | SF | 16.95 | 0 | Concrete
Railings | 14 | 21 | -7 | F |  | 8 | LF | 175 | 1400 | Painted tube steel
Common Gathering Areas
Hard Surface - Brick @ Staff | 50 | 21 | 29 | F | Level | 197 | SF | 34.5 | 6796.5 | Dimensional pavers, mortar set, incl. base aggregates
Landscaping
Plantings | 50 | 21 | 29 |  |  |  | SF | 8.5 | 0 | Incl. 2 gal shrub, 24" O.C., 12" topsoil, 3" mulch, and 1 tree x 400 SF.
Grading | 50 | 21 | 29 |  |  |  | SF | 1.1 | 0 | Rough and fine grading, incl. compaction
Irrigation | 30 | 21 | 9 |  | Assess | 20000 | SF | 2 | 40000 | Bed irrigation. $1.50 for rotor lawn areas
Irrigation repair | [6 empty] | SF | 1.05 | 0 | Irrigation repair, incl. trenching and backfill
Retaining Walls | 50 | 1 | 49 | N/A |  |  | SF | 66 | 0
Fencing
Fence 1 | 40 | 21 | 19 | N/A | Monitor | 607 | LF | 85 | 51595 | Coated link fencing 6' high
Fence 2 | 30 | 21 | 9 | F | Monitor | 75 | LF | 45 | 3375 | cedar fence, 6' ht.
Site Lighting
On Buildings | 10 | 21 | -11 | G | Monitor | 13 | EA | 450 | 5850 | LED exterior building surface mounted fixture
Free Standing | 25 | 21 | 4 | G |  | 3 | EA | 6250 | 18750 | Pole Lighting- Ped
Parking Area | 35 | 21 | 14 |  |  | 2 | EA | 8500 | 17000 | Pole Lighting- Parking
Mailboxes | 20 | 21 | -1 | F | Monitor | 1 | EA | 1450 | 1450 | single vault curbside
Site Signage
Signage/Lighting | 25 | 1 | 24 |  |  |  | EA | 5000 | 0 | Basic lighted monument sign
Playground
Hard Surface | 50 | 1 | 49 | N/A |  |  | SF | 32 | 0 | PIP
Ground Cover | 50 | 1 | 49 | N/A |  |  | SF | 2.65 | 0 | Engineered wood fiber
Equipment | 25 | 1 | 24 | N/A |  |  | EA | 15000 | 0 | includes foundation, typical per piece
Dumpster/Recycling Area
Enclosure | 20 | 1 | 19 |  |  |  | LF | 80 | 0 | 8' wood with gate
Container 1 | 40 | 1 | 39 | G | Monitor | 1 | EA | 1 | 1 | typically provided by Sanitary Services
Container 2 | 40 | 1 | 39 | G | Monitor | 1 | EA | 1500 | 1500 | same as above
Site Electrical Main | 40 | 21 | 19 | P | Replace | 1 | EA | 10000 | 10000 | per WH report; assess timing (assume year 10)
Site Power Distribution
100AMP UG Service Feeder | 40 | 1 | 39 | N/A |  |  | LF | 94 | 0 | includes conduit
200AMP UG Service Feeder | 40 | 21 | 19 | F | Replace | 100 | LF | 138 | 13800 | includes conduit per WH report; (assume year 10).
Site Sanitary Lines
X Units 4" HDPE | 50 | 21 | 29 | G |  |  | LF | 40.3 | 0 | Includes trenching and bedding
X Units 6" HDPE | 50 | 21 | 29 | G |  |  | LF | 49.3 | 0 | Includes trenching and bedding
Site Sewer Main | 50 | 21 | 29 | G |  |  | EA | 15000 | 0 | includes trenching and bedding, base cost- valves and connections
Site Water Main |  |  |  | G |  |  | EA | 20000 | 0 | includes trenching and bedding, base cost - valves and connections
X Units 1-1/2" Line | 40 | 21 | 19 | N/A |  |  | LF | 47.88 | 0 | Includes trenching and bedding
X Units 2-3" Line | 40 | 21 | 19 | G | Monitor |  | LF | 68.75 | 0 | Includes trenching and bedding
Storm Drain Lines | 50 | 21 | 29 | P | Assess Solution |  | LF | 59.11 | 0 | Includes trenching and bedding at north side

## Site - Cost
SITE- COST
Item | Cost
| 1 2021 | 2 2022 | 3 2023 | 4 2024 | 5 2025 | 6 2026 | 7 2027 | 8 2028 | 9 2029 | 10 2030 | 11 2031 | 12 2032 | 13 2033 | 14 2034 | 15 2035 | 16 2036 | 17 2037 | 18 2038 | 19 2039 | 20 2040 | Total
Service Walks
Hard Surface | [20 empty] | 0
Wood/Plastic decking - replace | [20 empty] | 0
Wood ramp and railing - replace | 6300 | [19 empty] | 6300
Metal railing in lieu of timber - replace | [20 empty] | 0
Parking Lots | [20 empty] | 0
Hard Surface | [20 empty] | 0
Hard Surface (sealing) | 80614 |  |  |  |  | 80614 |  |  |  |  | 80614 |  |  |  |  | 80614 |  |  |  |  | 322456
Restripe - stall | 3465 |  |  |  |  | 3465 |  |  |  |  | 3465 |  |  |  |  | 3465 |  |  |  |  | 13860
Steps/Ramps | [20 empty] | 0
Hard Surface | [20 empty] | 0
Railings | 1400 | [13 empty] | 1400 | [5 empty] | 2800
Common Gathering Areas | [20 empty] | 0
Hard Surface | [20 empty] | 0
Landscaping | [20 empty] | 0
Plantings | [20 empty] | 0
Grading | [20 empty] | 0
Irrigation | [8 empty] | 40000 | [11 empty] | 40000
Irrigation repair | [20 empty] | 0
Retaining Walls | [20 empty] | 0
Fencing | [20 empty] | 0
Fence 1 | [20 empty] | 0
Fence 2 | [8 empty] | 3375 | [11 empty] | 3375
Site Lighting | [20 empty] | 0
On Buildings | 5850 | [8 empty] | 5850 | [9 empty] | 5850 | 17550
Free Standing |  |  |  | 18750 | [16 empty] | 18750
Parking Area | [13 empty] | 17000 | [6 empty] | 17000
Mailboxes | [20 empty] | 0
Site Signage | [20 empty] | 0
Signage/Lighting | [20 empty] | 0
Playground | [20 empty] | 0
Hard Surface | [20 empty] | 0
Ground Cover | [20 empty] | 0
Equipment | [20 empty] | 0
Dumpster/Recycling Area | [20 empty] | 0
Enclosure | [20 empty] | 0
Container 1 | [20 empty] | 0
Container 2 | [20 empty] | 0
Site Electrical Main | [9 empty] | 10000 | [10 empty] | 10000
Site Power Distribution | [20 empty] | 0
100AMP UG Service Feeder | [20 empty] | 0
200AMP UG Service Feeder | [9 empty] | 13800 | [10 empty] | 13800
Site Sanitary Lines | [20 empty] | 0
X Units 4" HDPE | [20 empty] | 0
X Units 6" HDPE | [20 empty] | 0
Site Sewer Main | [20 empty] | 0
Site Water Main | [20 empty] | 0
X Units 1-1/2" Line | [20 empty] | 0
X Units 2-3" Line | [20 empty] | 0
Storm Drain Lines | [20 empty] | 0
Uninflated Totals | 97629 | 0 | 0 | 18750 | 0 | 84079 | 0 | 0 | 43375 | 29650 | 84079 | 0 | 0 | 17000 | 1400 | 84079 | 0 | 0 | 0 | 5850 | 465891

## Arch. Envelope - Inventory
ARCHITECTURAL ENVELOPE - INVENTORY
Item | EUL | Age | RUL | Condition (G, F, P, U) | Action | Quantity | Unit | Unit Cost | Total Cost | Comments
Walls
Finish | 10 | 21 | -11 | F | Recoat | 6873 | SF | 21 | 144333 | Elastomeric Coating
Structure | 50 | 21 | 29 | F | Monitor |  | SF | 42.4 | 0 | Cladding 33% glazing
Insulation | 50 | 21 | 29 |  | Monitor |  | SF | 6.52 | 0 | Batt in Wall Cavity
Wood siding and trim - new paint | 10 | 1 | 9 | - | N/A |  | SF | 33.5 | 0
Masonry - new sealant | 40 | 1 | 39 | - | N/A |  | SF | 42 | 0
Clean Corrosion/Repaint Steel Structure | 50 | 21 | 29 | P | Repair | 1 | Lump | 2000 | 2000
Roof | [8 empty] | 0
Covering | 20 | 21 | -1 | P | Assess | 17065 | SF | 16.75 | 285838.75 | Asphaltic Shingles ( assume year 4)
Structure | 50 | 21 | 29 | U | Assess | 0 | SF | 52.8 | 0 | Wood Trusses/Dimensional Lumber
Insulation | 50 | 21 | 29 | F |  |  | SF | 5.45 | 0 | rigid
Drainage - Gutter/Downspouts | 25 | 21 | 4 | F | Monitor | 530 | LF | 21 | 11130
Drainage - Interior | 50 | 1 | 49 | - | N/A |  | SF | 29.4 | 0
Soffits - Repaint | 5 | 1 | 4 |  |  | 494 | SF | 21 | 10374 | Repaint concurrent with siding
Fascia - Replace / Repaint | 25 | 1 | 24 |  |  |  | LF | 18.9 | 0
Floor
Structure | 50 | 21 | 29 |  |  |  | SF | 51.4 | 0 | Wood (13,814 SF)
Insulation | 50 | 21 | 29 |  |  |  | SF | 5.5 | 0 | Minor Missing Sections (13,814 SF)
Slab | 60 | 21 | 39 | F | N/A |  | SF | 6.7 | 0 | Except at Garage Slab (2,219 SF)
Foundations (Material) | 50 | 1 | 49 |  |  |  |  | 52.92 | 0 | concrete
Basement/Crawlspace
Walls (Material) | 50 | 21 | 29 | P | Reinspect |  | LF | 63 | 0 | Concrete, Note deficiencies in Kingworks Report (565 LF). Reinspect corrosion @ steel members at crawlspace.
Crawl Space Repairs | 50 | 21 | 29 | F/P | Repair | 1 | Lump | 40000 | 40000 | Corrections include joist anchorage to concrete stem walls, replacement of temp shoring columns with associated footing/beam connectors and repairs to perimeter concrete stem walls.- Repair Within 5 years
Sump Pump | 20 | 21 | -1 | P | Replace | 1 | EA | 2200 | 2200
Lighting | 25 | 1 | 24 | N/AA |  | 0 | SF | 11.6 | 0
Exterior Windows
Window Type 1 (X SF) | 30 | 21 | 9 | F | Replace | 42 | SF | 78 | 3276 | Fiberglass/Vinyl (Replace now or year 9)
Window - aluminum, double pane (X SF) | 30 | 1 | 29 |  | N/A |  | SF | 82 | 0
Window - wood, double pane (X SF) | 30 | 1 | 29 |  | N/A |  | SF | 96 | 0
Window frame repair - caulking | 12 | 21 | -9 | F | Recaulk | 1000 | LF | 18 | 18000
Window repair - new flashing | 20 | 21 | -1 | F | Replace | 16 | LF | 16.5 | 264
Exterior Doors
Door Type 1 (21 SF) | 25 | 1 | 24 |  | N/A |  | EA | 3100 | 0 | Wood / Plam
Door Type 2 - HM (21 SF) | 50 | 21 | 29 | F |  |  | EA | 5100 | 0 | Painted Hollow Metal (3 locations)
Door Type 3 - HM Entrance (42 SF) | 50 | 21 | 29 | G |  |  | EA | 9500 | 0 | Painted Hollow Metal with Sidelights (1 location)
Door frame repair - caulking | 12 | 21 | -9 | F | Recaulk | 144 | LF | 18 | 2592
Door repair - new flashing | 20 | 21 | -1 | F | Assess | 142 | LF | 16.5 | 2343
Balcony/Decks
Structure | 40 | 1 | 39 |  | N/A |  |  | 48.75 | 0
Porches | 50 | 1 | 49 |  | N/A |  |  | 60
Decking | 20 | 1 | 19 |  | N/A |  |  | 33.6 | 0
Railings | 50 | 1 | 49 |  | N/A |  | LF | 175 | 0
Chimneys/B-Vents | 25 | 21 | 4 | F | Field Assess | 40 | LF | 108 | 4320 | At time of reroof
Continued
Wall Finish Life Spans
Aluminum Siding | 15 | [6 empty] | 18.5
Brick or Block | 40 | [6 empty] | 45
Brownstone/Stone Veneer | 20 | [6 empty] | 50
Glass Block | 15 | [6 empty] | 44
Granite Block | 40 | [6 empty] | 92
Metal/Glass Curtain Wall | 15 | [6 empty] | 108
Pre-cast Concrete Panel | 40 | [6 empty] | 51
Vinyl Siding | 30 | [6 empty] | 14.2
Wood Shingle, Clapboard, Plywood, Stucco | 10 | [6 empty] | 21
Fiber cement siding | 10 | [6 empty] | 19.45
Roof Covering Life Spans
Aluminum Shingles | 40 | [6 empty] | 18.5
Asphalt Shingles | 20 | [6 empty] | 16.75
Built-up (BUR) | 20 | [6 empty] | 22.5
Membrane | 20 | [6 empty] | 24
Metal (pre-formed) | 40 | [6 empty] | 26.5
Slate, Tile, Clay, or Concrete Shingles | 50+ | [6 empty] | 28
Wood Shingles | 20 | [6 empty] | 17.5

## Arch. Envelope - Cost
ARCHITECTURAL ENVELOPE - COST
Item | Cost
| 1 2021 | 2 2022 | 3 2023 | 4 2024 | 5 2025 | 6 2026 | 7 2027 | 8 2028 | 9 2029 | 10 2030 | 11 2031 | 12 2032 | 13 2033 | 14 2034 | 15 2035 | 16 2036 | 17 2037 | 18 2038 | 19 2039 | 20 2040 | Total
Walls
Finish | 144333 | [8 empty] | 144333 | [10 empty] | 288666
Structure (Construction Type) | [20 empty] | 0
Insulation (Material) | [20 empty] | 0
Wood siding and trim - new paint | [20 empty] | 0
Masonry - new sealant | [20 empty] | 0
Clean Corrosion/Repaint Steel Structure | 2000 | [19 empty] | 2000
Roof | [20 empty] | 0
Covering | 285839 | [19 empty] | 285839
Structure (Asphaltic Singles) | [20 empty] | 0
Insulation (Material) | [20 empty] | 0
Drainage - Gutter/Downspouts |  |  |  | 11130 | [16 empty] | 11130
Drainage - Interior | [20 empty] | 0
Soffits |  |  |  | 10374 |  |  |  |  | 10374 |  |  |  |  | 10374 |  |  |  |  | 10374 |  | 41496
Fascia | [20 empty] | 0
Floor | [20 empty] | 0
Structure (Construction Type) | [20 empty] | 0
Insulation (Material) | [20 empty] | 0
Slab | [20 empty] | 0
Foundations (Material) | [20 empty] | 0
Basement/Crawlspace | [20 empty] | 0
Walls (Material) | [20 empty] | 0
Crawlspace Repairs |  |  |  |  | 40000 | [15 empty] | 40000
Sump Pump | 2200 | [19 empty] | 2200
Lighting | [20 empty] | 0
Exterior Windows | [20 empty] | 0
Window Type 1 (X SF) | [8 empty] | 3276 | [11 empty] | 3276
Window - aluminum, double pane (X SF) | [20 empty] | 0
Window - wood, double pane (X SF) | [20 empty] | 0
Window frame repair - caulking | 18000 | [11 empty] | 18000 | [7 empty] | 36000
Window repair - new flashing | 264 | [19 empty] | 264
Exterior Doors | [20 empty] | 0
Door Type 1 (X SF) | [20 empty] | 0
Door Type 2 - HM (X SF) | [20 empty] | 0
Door Type 3 - Aluminum (X SF) | [20 empty] | 0
Door frame repair - caulking | 2592 | [11 empty] | 2592 | [7 empty] | 5184
Door repair - new flashing | 2343 | [19 empty] | 2343
0
Balcony/Decks | [20 empty] | 0
Structure | [20 empty] | 0
Porches | [20 empty] | 0
Decking | [20 empty] | 0
Railings | [20 empty] | 0
Chimneys/B-Vents |  |  |  | 4320 | [16 empty] | 4320
Uninflated Totals | 457571 | 0 | 0 | 25824 | 40000 | 0 | 0 | 0 | 13650 | 144333 | 0 | 0 | 20592 | 10374 | 0 | 0 | 0 | 0 | 10374 | 0 | 722718

## Arch. Interiors - Inventory
ARCHITECTURAL INTERIORS - INVENTORY
Item | EUL | Age | RUL | Condition (G, F, P) | Action | Quantity | Unit | Unit Cost | Total Cost | Comments
Wood Doors & Frames - Replace | 25 | 21 | 4 | F | Monitor | 6 | EA | 2190 | 13140 | wood SC panel plus glazing
Door/Opening Hardware | 15 | 21 | -6 | F | Monitor | 10 | EA | 550 | 5500
HM Door & Frame - Replace | 50 | 21 | 29 | F |  | 0 | EA | 1920 | 0
Auto-Opener - Opening | 15 | 5 | 10 | G | Monitor | 0 | EA | 4000 | 0 | (2)openings
Access Control - Opening | 15 | 5 | 10 | G | Monitor | 0 | EA | 3300 | 0 | (5) openings
Flooring
Resilient Floor (tile/sheet) (c.1990) | 15 | 21 | -6 | F/P | Assess | 2155 | SF | 10.5 | 22627.5 | Replace at WCLS discretion (at same time as carpeting)
Carpet (from 2006) | 7 | 5 | 2 | G |  | 11177 | SF | 7.8 | 87180.6 | Carpet tile per WCLS Standards
Concrete | 50 | 1 | 49 |  |  | 0 | SF | 9 | 0 | polished
Ceramic/Quarry Tile | 50 | 1 | 49 |  |  | 0 | SF | 14.5 | 0
Base - Ceramic Tile | 50 | 1 | 49 |  |  | 0 | LF | 12.6 | 0
Base - Wood, 1 x 4 | 15 | 1 | 14 |  |  | 0 | LF | 10.9 | 0
Base - Rubber Cove, 4" (c.1990) | 15 | 21 | -6 | F/P | Assess | 2570 | LF | 5.5 | 14135 | Replace at WCLS discretion (at same time as carpeting)
Ceilings
GWB/Plaster | 50 | 21 | 29 | F |  |  | SF | 9.8 | 0
Paint (c.1990) | 8 | 21 | -13 | F | Repaint | 2357 | SF | 1.65 | 3889.05
ACT(c.1990) | 20 | 21 | -1 | F | Monitor | 11500 | SF | 5.65 | 64975 | Baseline - Existing ACT is ok, replace Tiles as necessary.
Walls
Specialty Surface | 30 | 1 | 29 |  |  | 0 | SF | 16 | 0 | typical
Repaint | 8 | 21 | -13 |  | Repaint | 22162 | SF | 2 | 44324
Interior Lighting - LED (c. 2011 @ 1/2) | 25 | 11 | 14 | F/P | Decision | 0 | SF | 12.8 | 0 | Assume 1/2 of Building Area (see MEP inventory)
Cabinets (Base & Uppers) | 20 | 21 | -1 | F/P | Assess | 33 | LF | 760 | 25080 | plastic laminate
Countertop/Backsplash | 20 | 21 | -1 | F/P | Assess | 50 | LF | 212 | 10600 | Poor condition at Toilet PLAM Counters
Kitchen Sink / Lavatory - single basin, incl. ADA controls | 20 | 21 | -1 | F | Assess | 1 | EA | 1025 | 1025 | Replace concurrent with cabinetry
Restrooms (5 locations)
Toilet Accessories - Public | 7 | 21 | -14 | F/P | Decision | 7 | LS | 490 | 3430 | per WC (Replace in 10 years)
Toilet Fixtures (toilet)- Public | 15 | 21 | -6 | F | Decision | 7 | EA | 1066 | 7462 | per fixture (Replace in 10 years)
Toilet Fixtures (sink)- Public | 15 | 21 | -6 | F | Decision | 5 | EA | 1025 | 5125 | per fixture (Replace in 10 years)
Toilet Partition - metal, incl. demo of existing | 15 | 21 | -6 | F | Decision |  | EA |  |  | Likely can last
Drinking Fountains (c. 2011) | 15 | 10 | 5 | G |  | 2 | EA | 4350 | 8700 | dual basin, ADA (Replace in 10 years)
Acoustical Control | 20 | 1 | 19 |  |  |  | SF | 18.5 | 0
AV/Equipment | 12 | 1 | 11 |  | ? |  | LS | 50000 | 0 | typical
Window Covering | 12 | 1 | 11 |  | Monitor |  | SF | 12.5 | 0 | manual, fabric; at WCLS discretion
Anchor - Library Shelving, floor | 0 | 0 | 0 |  |  | 40 | LOC | 55 | 2200 | Existing units very heavy - NOT Anchored.
Anchor - Library Shelving, wall | [6 empty] | LOC | 48 | 0
Residential Appliances | 15 | 21 | -6 | G | Assess | 4 | EA | 1200 | 4800 | Due for replacement within 10 years.

## Arch. Interiors - Cost
ARCHITECTURAL INTERIORS - COST
Item | Cost
| 1 2021 | 2 2022 | 3 2023 | 4 2024 | 5 2025 | 6 2026 | 7 2027 | 8 2028 | 9 2029 | 10 2030 | 11 2031 | 12 2032 | 13 2033 | 14 2034 | 15 2035 | 16 2036 | 17 2037 | 18 2038 | 19 2039 | 20 2040 | Total
Doors & Frames |  |  |  | 13140 | [16 empty] | 13140
Door/Opening Hardware | 5500 | [14 empty] | 5500 |  |  |  |  | 11000
HM Door Frame - Replace | [20 empty] | 0
Auto-Opener - Opening | [20 empty] | 0
Access Control - Opening | [20 empty] | 0
0
Flooring | [20 empty] | 0
Resilient Floor (tile/sheet) |  | 22628 | [15 empty] | 22628 |  |  | 45256
Carpet |  | 87181 | [6 empty] | 87181 | [6 empty] | 87181 |  |  |  |  | 261543
Concrete | [20 empty] | 0
Ceramic/Quarry Tile | [20 empty] | 0
Base - Ceramic Tile | [20 empty] | 0
Base - Wood, 1 x 4 | [20 empty] | 0
Base - Rubber Cove, 4" |  | 14135 | [15 empty] | 14135 |  |  | 28270
Ceilings | [20 empty] | 0
GWB/Plaster | [20 empty] | 0
Paint | 3889 | [7 empty] | 3889 | [7 empty] | 3889 |  |  |  | 11667
ACT | 64975 | [19 empty] | 64975
Walls | [20 empty] | 0
Specialty Surface | [20 empty] | 0
Repaint | 44324 | [7 empty] | 44324 | [7 empty] | 44324 |  |  |  | 132972
Interior Lighting - LED | [20 empty] | 0
Cabinets (Base & Uppers) | 25080 | [19 empty] | 25080
Countertop/sink | 10600 | [19 empty] | 10600
Kitchen Sink/LAV - single basin, incl. ADA controls | 1025 | [19 empty] | 1025
Restrooms | [20 empty] | 0
Toilet Accessories | [9 empty] | 3430 | [10 empty] | 3430
Toilet Fixtures (toilet) | [9 empty] | 7462 | [10 empty] | 7462
Toilet Fixtures (sink) | [9 empty] | 5125 | [10 empty] | 5125
Toilet Partition - metal, incl. demo of existing | [20 empty] | 0
Drinking Fountains | [9 empty] | 8700 | [10 empty] | 8700
Acoustical Control | [20 empty] | 0
AV/Equipment | [20 empty] | 0
Window Covering | [20 empty] | 0
Anchor - Library Shelving, floor | 2200 | [19 empty] | 2200
Anchor - Library Shelving, wall | [20 empty] | 0
Residential Appliances | 4800 | [9 empty] | 4800 | [9 empty] | 9600
Uninflated Totals | 162393 | 123944 | 0 | 13140 | 0 | 0 | 0 | 0 | 135394 | 24717 | 4800 | 0 | 0 | 0 | 0 | 92681 | 48213 | 36763 | 0 | 0 | 642045

## Bldg. MEP Systems - Inventory
BUILDING MEP SYSTEMS - INVENTORY
Item | EUL | Age | RUL | Condition (G, F, P) | Action | Quantity | Unit | Unit Cost | Total Cost | Comments
Water Heater w/recirc pump | 12 | 10 | 2 | G | Monitor | 1 | EA | 18600 | 18600 | 30 gallon storage tank w/tankless gas heater
Heating System | 20 | 10 | 10 |  | Monitor | 0 | SF | 52.5 | 0 | At north: VRF w/heat recovery units.
Boiler - Replace | 25 | 21 | 4 | P | Replace | 1 | Lump | 15000 | 15000
Plumbing Distribution | 30 | 21 | 9 | F |  | 1 | Lump | 5000 | 5000 | disimilar piping metals - source and provide new coupling per WH
A/C Condenser | 15 | 21 | -6 |  |  | 3 | EA | 7480 | 22440 | 5 TON (wall mounted at IT room)
Elevators | 50 | 1 | 49 |  | N/A |  | STP | 46000 | 0 | baseline
Fire Suppression System | 50 | 1 | 49 |  | N/A |  | SF | 5.8 | 0
Electrical Service | 50 | 21 | 29 | P | Replace | 1 | EA | 133000 | 133000 | Replace 208/120v, 3 phase, 4w system per WH report; assume 10 year life left
Electrical Wiring - Distribution | 50 | 21 | 29 | F |  | 0 | SF | 44.5 | 0 | All electrical less lighting system
Gas Distribution | 50 | 21 | 29 | G |  | 0 | LF | 68 | 0
Hot & Cold Water Distribution | 50 | 21 | 29 | G |  | 0 | LF | 48.6 | 0 | less for PEX system
Gas Furnace - Replace | 20 | 21 | -1 | G | Replace |  | EA | 9000 | 0
Electric Furnace - Replace | 15 | 21 | -6 |  | N/A |  | EA | 8000 | 0
AHU (gas) - Replace | 20 | 21 | -1 |  |  |  | EA | 26000 | 0
AHU (electric) - Replace | 20 | 21 | -1 |  |  |  | EA | 25000 | 0
Hose Bib - Replace | 30 | 21 | 9 |  |  | 0 | EA | 450 | 0
Lighting Control Panel - Repair | 15 | 1 | 14 |  | N/A |  | EA | 2000 | 0
Sanitary Waste & Vent System | 50 | 21 | 29 | G |  | 0 | LF | 36 | 0 | PVC
Lighting - Replace (@ 1/2 of Building) | 25 | 21 | 4 | P | Complete Replace/Upgrades | 1 | Lump | 197200 | 197200 | Per WH cost input
Security System | 10 | 21 | -11 | P |  | 1 | Lump | 250 | 250 | Replace backup battery

## Bldg. MEP Systems - Cost
BUILDING MEP SYSTEMS - COST
Item | Cost
| 1 2021 | 2 2022 | 3 2023 | 4 2024 | 5 2025 | 6 2026 | 7 2027 | 8 2028 | 9 2029 | 10 2030 | 11 2031 | 12 2032 | 13 2033 | 14 2034 | 15 2035 | 16 2036 | 17 2037 | 18 2038 | 19 2039 | 20 2040 | Total
Water Heater with pump |  | 18600 | [11 empty] | 18600 | [6 empty] | 37200
Heating System | [20 empty] | 0
Boiler |  |  |  | 15000 | [16 empty] | 15000
Plumbing | [8 empty] | 5000 | [11 empty] | 5000
A/C Condenser | 22400 | [14 empty] | 22400 |  |  |  |  | 44800
Elevators | [20 empty] | 0
Fire Suppression System | [20 empty] | 0
Electrical Service | [9 empty] | 133000 | [10 empty] | 133000
Electrical Wiring | [20 empty] | 0
Gas Distribution | [20 empty] | 0
Hot & Cold Water Distribution | [20 empty] | 0
Gas Furnace - Replace | [20 empty] | 0
Electric Furnace - Replace | [20 empty] | 0
AHU (gas) - Replace | [20 empty] | 0
AHU (electric) - Replace | [20 empty] | 0
Hose Bib - Replace | [20 empty] | 0
Lighting Control Panel | [20 empty] | 0
Sanitary Waste & Vent System | [20 empty] | 0
Lighting |  |  |  | 197200 | [16 empty] | 197200
Security System | 250 | [8 empty] | 250 | [9 empty] | 250 | 750
Uninflated Totals | 22650 | 18600 | 0 | 212200 | 0 | 0 | 0 | 0 | 5000 | 133250 | 0 | 0 | 0 | 18600 | 0 | 22400 | 0 | 0 | 0 | 250 | 432950

## Total Cost & Inflation Summary
TOTAL COST & INFLATION SUMMARY
Item | Cost
| 1 2021 | 2 2022 | 3 2023 | 4 2024 | 5 2025 | 6 2026 | 7 2027 | 8 2028 | 9 2029 | 10 2030 | 11 2031 | 12 2032 | 13 2033 | 14 2034 | 15 2035 | 16 2036 | 17 2037 | 18 2038 | 19 2039 | 20 2040 | Total
Uninflated Totals - Site | 97629 | 0 | 0 | 18750 | 0 | 84079 | 0 | 0 | 43375 | 29650 | 84079 | 0 | 0 | 17000 | 1400 | 84079 | 0 | 0 | 0 | 5850 | 465891
Uninflated Totals - Architectural Envelope | 457571 | 0 | 0 | 25824 | 40000 | 0 | 0 | 0 | 13650 | 144333 | 0 | 0 | 20592 | 10374 | 0 | 0 | 0 | 0 | 10374 | 0 | 722718
Uninflated Totals - Architectural Interiors | 162393 | 123944 | 0 | 13140 | 0 | 0 | 0 | 0 | 135394 | 24717 | 4800 | 0 | 0 | 0 | 0 | 92681 | 48213 | 36763 | 0 | 0 | 642045
Uninflated Totals - Building MEP Systems | 22650 | 18600 | 0 | 212200 | 0 | 0 | 0 | 0 | 5000 | 133250 | 0 | 0 | 0 | 18600 | 0 | 22400 | 0 | 0 | 0 | 250 | 432950
Uninflated Totals - All Categories | 740243 | 142544 | 0 | 269914 | 40000 | 84079 | 0 | 0 | 197419 | 331950 | 88879 | 0 | 20592 | 45974 | 1400 | 199160 | 48213 | 36763 | 10374 | 6100 | 2263604
Inflation Increase Percentage | 0.04 | 0.07796 | 0.11299 | 0.14917 | 0.18651 | 0.22508 | 0.26489 | 0.306 | 0.34844 | 0.39227 | 0.43752 | 0.48424 | 0.53247 | 0.58228 | 0.6337 | 0.6868 | 0.74162 | 0.79822 | 0.85667 | 0.91701
Adjusted Total Cost | 769852.72 | 153656.7302 | 0 | 310175.9904 | 47460.5556 | 103003.1307 | 0 | 0 | 266208.5597 | 462163.668 | 127765.1321 | 0 | 31556.7187 | 72743.7459 | 2287.1859 | 335943.0091 | 83968.7535 | 66108.0817 | 19261.0481 | 11693.7436 | 2863848.7733
Captial Reserve | 1
Reserve Remaining
Reserve Increase Percentage | 0.04
Adjusted Reserve
Adjusted Reserve Remaining

## Escl Mult
Year | % |  |  |  | Mult
0 | 0% | 1000 | 0 | 1000 | 0%
1 | 4% | 1000 | 40 | 1040 | 4%
2 | 3.65% | 1040 | 37.96 | 1077.96 | 7.796%
3 | 3.25% | 1077.96 | 35.0337 | 1112.9937 | 11.3%
4 | 3.25% | 1112.9937 | 36.1723 | 1149.166 | 14.92%
5 | 3.25% | 1149.166 | 37.3479 | 1186.5139 | 18.65%
6 | 3.25% | 1186.5139 | 38.5617 | 1225.0756 | 22.51%
7 | 3.25% | 1225.0756 | 39.815 | 1264.8905 | 26.49%
8 | 3.25% | 1264.8905 | 41.1089 | 1305.9995 | 30.6%
9 | 3.25% | 1305.9995 | 42.445 | 1348.4445 | 34.84%
10 | 3.25% | 1348.4445 | 43.8244 | 1392.2689 | 39.23%
11 | 3.25% | 1392.2689 | 45.2487 | 1437.5177 | 43.75%
12 | 3.25% | 1437.5177 | 46.7193 | 1484.237 | 48.42%
13 | 3.25% | 1484.237 | 48.2377 | 1532.4747 | 53.25%
14 | 3.25% | 1532.4747 | 49.8054 | 1582.2801 | 58.23%
15 | 3.25% | 1582.2801 | 51.4241 | 1633.7042 | 63.37%
16 | 3.25% | 1633.7042 | 53.0954 | 1686.7996 | 68.68%
17 | 3.25% | 1686.7996 | 54.821 | 1741.6206 | 74.16%
18 | 3.25% | 1741.6206 | 56.6027 | 1798.2233 | 79.82%
19 | 3.25% | 1798.2233 | 58.4423 | 1856.6655 | 85.67%
20 | 3.25% | 1856.6655 | 60.3416 | 1917.0071 | 91.7%
21 | 3.25% | 1917.0071 | 62.3027 | 1979.3099 | 97.93%
22 | 3.25% | 1979.3099 | 64.3276 | 2043.6374 | 104.4%
23 | 3.25% | 2043.6374 | 66.4182 | 2110.0557 | 111%
24 | 3.25% | 2110.0557 | 68.5768 | 2178.6325 | 117.9%
25 | 3.25% | 2178.6325 | 70.8056 | 2249.438 | 124.9%
26 | 3.25% | 2249.438 | 73.1067 | 2322.5448 | 132.3%
27 | 3.25% | 2322.5448 | 75.4827 | 2398.0275 | 139.8%
28 | 3.25% | 2398.0275 | 77.9359 | 2475.9634 | 147.6%
29 | 3.25% | 2475.9634 | 80.4688 | 2556.4322 | 155.6%
30 | 3.25% | 2556.4322 | 83.084 | 2639.5162 | 164%